INSTRUMENTATION FACILITY

Facility for Cell Culture

Automated Cell Counter						CO2 Incubator

Liquid Nitrogen Container 						Hot Air Oven

Upright LED Trinocular Eclipx Ci 					Biosafety Cabinet

Upright Trinoculer Fluorescent Microscope Eclipse Ni		360 Lt Refrigerator

-150˚C Deep Freezer							PH Meter

Refrigerator Centrifuge 5810R					Swing-out Centrifuge

Orbital Shaker MES-128						Vortex

Mini Spin Centrifuge							Water Bath

Facility for Genome / Nucleic Acid Analysis

Electrophoresis Unit 							PCR Cabinet

Gel Documentation System 						Thermal Cycler S1000

Ultrasonic Homogenizer 3000MP					Nanodrop 2000

Sequencer Genome Lab GeXP						Vortex

Real Time PCR LC480 							Dry Bath Incubator

Mini Spin Centrifuge

Facility for Cell Sorting and Cell Analysis

FACS Aria III Cell sorter						Mini Spin Centrifuge

Swing Out Centrifuge							360 Lt Refrigerator

Facility for Protein Study

Ultrasonic Homogenizer 3000MP 					Blotting System

Flash Chromatography CHEETAH					HPLC Ultimate 3000

SDS PAGE Electrophoresis 						360 Lt Refrigerator

Facility for Storage of Consumables

Liquid nitrogen container (4 Nos)					-40˚C Deep Freezer

-80˚C Deep Freezer (Qty- 2Nos)					-20˚C Deep Freezer

Miscellaneous Instrumentation Facility

Multimode Reader SpectraMax M2					Autoclave

Ultra Water Purification System					PH Meter

Refrigerator Centrifuge 5810R					Ultra Pure Water Purification

Elisa Plate Washer ELx 50						HPLC Ultimate3000

Ultra Centrifuge Sorvall Mx 150+					360 Lt Refrigerator